## Slide 1: AUTOMATED NEONATAL EXCHANGE TRANSFUSION
AMEYAW ARTHUR SAMUEL
BANDOMA GIDEON
CANN JOSEPHINE
SUPERVISOR : MR. PRINCE ODAME
ANET 4.0

## Slide 2: OUTLINE
Lorem ipsum dolor sit amet, consectetur adipiscing elit. Duis sit amet odio vel purus bibendum luctus.
1
BACKGROUND
2
3
4
5
PROBLEM STATEMENT
SCOPE OF PROJECT
LITERATURE REVIEW
ANET 4.0

## Slide 3
HYPERBILIRUBINEMIA

## Slide 4: HYPERBILIRUBINEMIA
In Ghana these blood diseases are predominant.
Blood-related issues such as jaundice, hyperbilirubinemia, and are present in newborns.[3]

## Slide 5: EXISTING SOLUTIONS
Phototherapy
Fiber Optic Blanket

## Slide 6: HYPERBILIRUBINEMIA
lack the devices for early detection like bilirubin meters used in other countries.[4]
The aim of this project would be to automate the exchange transfusion process.

## Slide 7: EXCHANGE TRANSFUSION
Slow withdrawal of blood usually through catheters inserted into a blood vessel [1]
Replacing it with fresh blood from a donor
Techniques for the blood exchange transfusion[2]

## Slide 8
Single Catheter
Double Catheter
8
OUT LINE

## Slide 9: PROBLEM STATEMENT
This makes the procedure although a life-saving one seems unappealing.
ET is a very tedious and time-consuming process.

## Slide 10: PROBLEM STATEMENT

## Slide 11: HISTORY
Aristotle
George Washington
First successful ET in
1906

## Slide 12: Progression
ANET
1.0
2.0
3.0
Overheating
COVID - 19
Valve turns
Wobbling effect
Heparin pump
Monitoring
Plunging effect
Valves
Power supply
Overheating

## Slide 13: SCOPE OF THE PROJECT
1
Solve ANET 3.0 Challenges
2
Animal Testing
3
Further Improvements

## Slide 14: ANIMAL TESTING
1.Evaluate the efficacy of the device
3.Risk assessment for risk management
2.Provide evidence of safety, including performance and handling

## Slide 15: ANET 4.0 OBJECTIVES
1
Automate the process.
improve the plunging effects.
2
less time-consuming
3
5
Add an alarm system
Low-cost device
4

## Slide 16: ANET 4.0 - MECHANICAL PART
Pusher block
3d controller
Coupler
Lead Rod
Motor
16

## Slide 17: ANET 4.0 – BLOCK DIAGRAM
Motor Driver
Arduino Mega
I2C LCD
AC/DC Converter
Motor Driver
Motor Shield
Keypad
Motor 1
Motor 2
Pusher Block
AC Source

## Slide 18: SYSTEM ARCHITECTURE
Neonate
Motors
Pusher block
Power
LCD
Keypad
Arduino Mega

## Slide 19: DETAILED ELECTRICAL CONNECTION
Voltage booster
Voltage booster
Keypad
LCD
Motor Driver
Motor Driver
Arduino Mega

## Slide 20: 3D MODEL

## Slide 21: The Next Steps…
 | May |  |  |  | June |  |  |  | July |  |  | 
 | Week 01 | Week 02 | Week 03 | Week 04 | Week 01 | Week 02 | Week 03 | Week 04 | Week 01 | Week 02 | Week 03 | Week 04
Components |  |  |  |  |  |  |  |  |  |  |  | 
Simulation |  |  |  |  |  |  |  |  |  |  |  | 
Building |  |  |  |  |  |  |  |  |  |  |  | 
Testing |  |  |  |  |  |  |  |  |  |  |  | 
Documentation |  |  |  |  |  |  |  |  |  |  |  | 
May
June
July
Ordering
Performance analysis
Assembling
Prototyping
Animal Test
Presentation to specialist
Further Recommendation

## Slide 22: REFERENCES
[1] Agbedor, A., Abisba, A., & Frimpong, N. (2022). Automated Neonatal Exchange Transfusion System 3.0. Kwame Nkrumah University of Science and Technology(1), 10 - 40.
[2] Altunhan, H., Annagür, A., Tarakçi, N., Konak, M., Ertuğrul, S., & Örs, R. (2016). Fully automated simultaneous umbilical arteriovenous exchange transfusion in term and late preterm infants with neonatal hyperbilirubinemia. The Journal of Maternal-Fetal & Neonatal Medicine, 29(8), 1274-1278.
[3] ANDREW, A., ABISBA, A. B., & FRIMPONG, N. K. ( 2022). Automated Neonatal Exchange Transfusion System 3.0 Kwame Nkrumah University of Science and Technology].
[4] Ar-Rayyan. (2020). How to Care for Your Baby with Jaundice.
[5] Badiee, Z. (2007). Exchange transfusion in neonatal hyperbilirubinemia: experience in Isfahan, Iran. Singapore medical journal, 48(5), 421.

## Slide 24: APPENDICES Bilirubin Breakdown

## Slide 25: Statistics of Hyperbilirubinemia
[5]