## Slide 1: AUTOMATED NEONATAL EXCHANGE TRANSFUSION

## Slide 2: GROUP MEMBERS
Ameyaw Arthur Samuel
8272619
Cann Josephine
8274419
Bandoma Gideon
8273719

## Slide 3: Outline
Background
Exchange Transfusion
Problem Statement
Various ANETS
Significance

## Slide 4: Background
Blood-related issues such as jaundice, hyperbilirubinemia, and hemolytic disease are present in the newborns
In Ghana these blood diseases are predominant.

## Slide 5
over 60%
of term infants
80%
of preterm infants
Statistics of Hyperbilirubinemia occurrence

## Slide 6: Background
Fe
protoporphyrin

## Slide 7: Background
Early detection may be difficult due to:
  Visibility of skin
  Degree of prediction
  Pigment of the eye

## Slide 8: Background
lack the devices for early detection like bilirubin meters used in other countries.
Severe cases lead to brain damage or neurodevelopmental issues
Other Interventions
The aim of this project would be to reduce human interaction when exchange transfusion takes place.

## Slide 9: Exchange Transfusion
Slow withdrawal of blood usually through catheters inserted into a blood vessel
replacing it with fresh blood from a donor
Two techniques for the blood exchange transfusion
  Single catheter
  double catheter

## Slide 10
Single Catheter
Double Catheter

## Slide 11: Problem Statement
ET is a very tedious and time-consuming process.
This makes the procedure although a life-saving one seem unappealing

## Slide 12: Problem
ET must be performed slowly and steadily in cycles
Thus avoids iron overload, which can cause damage to the heart, liver, and other organs
Very tedious and human-prone to errors
Consumes precious time for clinicians

## Slide 13: Objectives
Automate the process.
Using classical electronics to improve the plunging effects.
Device would make it less time-consuming and less prone to errors
Low-cost device
Add an alarm system

## Slide 14: ANET 1.0

## Slide 15: ANET 1.0
AIMS
To automate the process
Replaced manual pumping of the syringe
Replaced manual control of the valves with motors
CHALLENGES
Wobbling effects
Overheating unnecessary noise
Air bubbles
  air bubbles being trapped in the device 3D-printed valves

## Slide 16
ANET 2.0

## Slide 17: ANET 2.0
AIMS
Replaces manual turning-off valves
Uses motors controlled by a program written to the microcontroller
Designing new valves specifically to fit the design
Design new coupling for motors
Replacing the motors with higher torque motors
CHALLENGES
Heparin pump
Monitoring system for the blood circuit
Valve turns
Plunging effect

## Slide 18
ANET 3.0

## Slide 19: ANET 3.0
AIMS
To automate the process and solve ANET 2.0 issues
  Wobbling effects
  Overheating
  Air bubbles
CHALLENGES
Not enough torque to turn valves:
valves were designed to be turned manually by hand and therefore overburden the unipolar stepper motors employed

## Slide 20: What’s new in ANET 4.0
Improve plunging effects using classical electronics.
Adding an alarm system.
Provide adequate power possibly using the mains.
Improve on the turns on the valves

## Slide 21: SIGNIFICANCE OF PROJECT
Less human-dependent device
Higher guarantee for consistency, accuracy, efficiency, and fewer human errors.
Relief to doctors and health workers.
All at a moderate cost

## Slide 22: WORK SO FAR
We have started creating 3D models which would be used in simulating the operation of the ANET
We have installed LabView and taken an online course in using it.
We have also taken a course on how to use EndNote.
Enquiries on the lab subject test